[image: image1.png]Una version en 2spznol da aste reporte 2sts disponible en 2l municipio de la ciudad

manu s:,m.;unccdw'm'\.m"IuaeﬂnJman'wMuuﬂ






2017 WATER QUALITY REPORT FOR

STORM LAKE WATER TREATMENT PLANT
This report contains important information regarding the water quality in our water system. The source of our water is groundwater.   Our water quality testing shows the following results:

	CONTAMINANT
	MCL - (MCLG) 
	Compliance
	Date
	Violation
	Source

	
	
	Type
	Value & (Range)
	
	Yes/No
	

	Lead (ppb)
	AL=15   (0)
	90th
	3.50 (ND - 15)
	2016
	No
	Corrosion of household plumbing systems; erosion of natural deposits

	Copper (ppm)
	AL=1.3   (1.3)
	90th
	0.05 (0.0011 - 0.2805)
	2016
	No
	Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives

	950 - DISTRIBUTION SYSTEM

	Chlorine (ppm)
	MRDL=4.0   (MRDLG=4.0)
	RAA
	2.8 (2.2 - 3.1)
	09/30/2017
	No
	Water additive used to control microbes

	Nitrite [as N] (ppm)
	1   (1)
	SGL
	0.32 (ND - 0.32)
	2017
	No
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits

	01 - 3,7,8,11,18,OR19 & 14,15,20 OR 4/LAB SNK

	Barium (ppm)
	2   (2)
	SGL
	0.00549
	01/15/2013
	No
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits

	Arsenic (ppb)
	10   (0)
	SGL
	3.20
	03/16/2016
	No
	Erosion of natural deposits; Runoff from orchards;  Runoff from glass and electronic production wastes

	Fluoride (ppm)
	4   (4)
	RAA
	0.76 (0.58 - 0.89)
	09/30/2017
	No
	Water additive which promotes strong teeth; Erosion of natural deposits; Discharge from fertilizer and aluminum factories

	Sodium (ppm)
	N/A   (N/A)
	SGL
	50.5
	03/16/2016
	No
	Erosion of natural deposits; Added to water during treatment process

	Nitrite [as N] (ppm)
	1   (1)
	SGL
	0.32 (ND - 0.32)
	2017
	No
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits


Note: Contaminants with dates indicate results from the most recent testing done in accordance with regulations.

DEFINITIONS

· Maximum Contaminant Level (MCL) – The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

· Maximum Contaminant Level Goal (MCLG) -- The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

· ppb -- parts per billion.

· ppm -- parts per million

· pCi/L – picocuries per liter

· N/A – Not applicable

· ND -- Not detected

· RAA – Running Annual Average
· Treatment Technique (TT) – A required process intended to reduce the level of a contaminant in drinking water.
· Action Level (AL) – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

· Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

· Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
· SGL – Single Sample Result
· RTCR – Revised Total Coliform Rule
· NTU – Nephelometric Turbidity Units
GENERAL INFORMATION

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water posed a health risk.  More information about contaminants or potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  STORM LAKE WATER TREATMENT PLANT is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. 
SOURCE WATER ASSESSMENT INFORMATION

This water supply obtains its water from the buried sand and gravel of the Buried Sand and Gravel aquifer.  The Buried Sand and Gravel aquifer was determined to be susceptible to contamination because the characteristics of the aquifer and overlying materials provide some protection from contaminants from the land surface.  The Buried Sand and Gravel wells will be susceptible to surface contaminants such as leaking underground storage tanks, contaminant spills, and excess fertilizer application.  A detailed evaluation of your source water was completed by the Iowa Department of Natural Resources, and is available from the Water Operator at 712-732-8031   .

This water supply obtains its water from the sandstone and dolomite of the Cambrian-Ordovician aquifer.  The Cambrian-Ordovician aquifer was determined to have low susceptibility to contamination because the characteristics of the aquifer and overlying materials provide natural protection from contaminants at the land surface.  The Cambrian-Ordovician well will have low susceptibility to surface contaminants such as leaking underground storage tanks, contaminant spills, and excess fertilizer application.  A detailed evaluation of your source water was completed by the Iowa Department of Natural Resources, and is available from the Water Operator at 712-732-8031   .

This water supply obtains its water from the sandstone of the Dakota aquifer.  The Dakota aquifer was determined to have low susceptibility to contamination because the characteristics of the aquifer and overlying materials provide natural protection from contaminants at the land surface.  The Dakota wells will have low susceptibility to surface contaminants such as leaking underground storage tanks, contaminant spills, and excess fertilizer application.  A detailed evaluation of your source water was completed by the Iowa Department of Natural Resources, and is available from the Water Operator at 712-732-8031   .

CONTACT INFORMATION

For questions regarding this information or how you can get involved in decisions regarding the water system, please contact STORM LAKE WATER TREATMENT PLANT at 712-732-8031.
	March 08, 2018
	CCR 2017   STORM LAKE WATER TREATMENT PLANT   PWSID: 1178097
	Page 1



[image: image1.png]